## patient_gmm_summary_8clusters
file | sample | bead | n_roi_events | model | mean_only | expected_only | mean_sandwich_v1 | expected_sandwich_v1 | normalised_sandwich_v1_events (%) | mean_sandwich_v2 | expected_sandwich_v2 | normalised_sandwich_v2_events (%) | mean_sandwich_v3 | expected_sandwich_v3 | normalised_sandwich_v3_events (%) | expected_sandwich_total | normalised_total_sandwich_events (%)
EC 1.fcs | EC 1 | B | 11080 | shared_mmb6_reference_boundaries | 0.12656 | 5379 | 0.20113 | 307 | 5.3992 | 0.46624 | 2578 | 32.3991 | 0.69934 | 2816 | 34.3624 | 5701 | 51.4531
EC 1.fcs | EC 1 | A | 8855 | shared_mmb6_reference_boundaries | 0.12656 | 5271 | 0.20113 | 351 | 6.2433 | 0.46624 | 2005 | 27.5563 | 0.69934 | 1228 | 18.8952 | 3584 | 40.4743
EC 1.fcs | EC 1 | ALL | 19935 | mix |  | 10650 |  | 658 | 5.8189 |  | 4583 | 30.086 |  | 4044 | 27.5214 | 9285 | 46.5764
EC 2.fcs | EC 2 | B | 11194 | shared_mmb6_reference_boundaries | 0.12639 | 7873 | 0.16613 | 136 | 1.6981 | 0.22568 | 370 | 4.4887 | 0.51028 | 2815 | 26.3379 | 3321 | 29.6677
EC 2.fcs | EC 2 | A | 8386 | shared_mmb6_reference_boundaries | 0.12639 | 5630 | 0.16613 | 178 | 3.0647 | 0.22568 | 354 | 5.9158 | 0.51028 | 2224 | 28.3168 | 2756 | 32.8643
EC 2.fcs | EC 2 | ALL | 19580 | mix |  | 13503 |  | 314 | 2.2726 |  | 724 | 5.0889 |  | 5039 | 27.1761 | 6077 | 31.0368
EC 3.fcs | EC 3 | B | 11025 | shared_mmb6_reference_boundaries | 0.12645 | 4167 | 0.41481 | 1345 | 24.4013 | 0.54881 | 2279 | 35.3553 | 0.76351 | 3234 | 43.6968 | 6858 | 62.2041
EC 3.fcs | EC 3 | A | 8535 | shared_mmb6_reference_boundaries | 0.12645 | 4250 | 0.41481 | 1272 | 23.0351 | 0.54881 | 1918 | 31.096 | 0.76351 | 1095 | 20.4864 | 4285 | 50.205
EC 3.fcs | EC 3 | ALL | 19560 | mix |  | 8417 |  | 2617 | 23.7176 |  | 4197 | 33.2726 |  | 4329 | 33.9636 | 11143 | 56.9683
EC 4.fcs | EC 4 | B | 11068 | shared_mmb6_reference_boundaries | 0.12657 | 5630 | 0.20583 | 300 | 5.059 | 0.45885 | 2294 | 28.95 | 0.68215 | 2844 | 33.5615 | 5438 | 49.1326
EC 4.fcs | EC 4 | A | 8395 | shared_mmb6_reference_boundaries | 0.12657 | 5177 | 0.20583 | 328 | 5.9582 | 0.45885 | 1698 | 24.6982 | 0.68215 | 1192 | 18.7157 | 3218 | 38.3323
EC 4.fcs | EC 4 | ALL | 19463 | mix |  | 10807 |  | 628 | 5.4919 |  | 3992 | 26.9748 |  | 4036 | 27.1913 | 8656 | 44.4741
EC 5.fcs | EC 5 | B | 11088 | shared_mmb6_reference_boundaries | 0.12663 | 8147 | 0.16256 | 42 | 0.51288 | 0.1872 | 239 | 2.85 | 0.56445 | 2660 | 24.6137 | 2941 | 26.5242
EC 5.fcs | EC 5 | A | 7811 | shared_mmb6_reference_boundaries | 0.12663 | 6375 | 0.16256 | 62 | 0.96318 | 0.1872 | 156 | 2.3886 | 0.56445 | 1218 | 16.0411 | 1436 | 18.3843
EC 5.fcs | EC 5 | ALL | 18899 | mix |  | 14522 |  | 104 | 0.71106 |  | 395 | 2.648 |  | 3878 | 21.0761 | 4377 | 23.16
EC 6.fcs | EC 6 | B | 11345 | shared_mmb6_reference_boundaries | 0.12674 | 4635 | 0.19933 | 441 | 8.6879 | 0.49123 | 2963 | 38.9971 | 0.71697 | 3306 | 41.632 | 6710 | 59.145
EC 6.fcs | EC 6 | A | 8918 | shared_mmb6_reference_boundaries | 0.12674 | 3788 | 0.19933 | 444 | 10.4915 | 0.49123 | 2500 | 39.7583 | 0.71697 | 2186 | 36.5919 | 5130 | 57.5241
EC 6.fcs | EC 6 | ALL | 20263 | mix |  | 8423 |  | 885 | 9.508 |  | 5463 | 39.3418 |  | 5492 | 39.4682 | 11840 | 58.4316
EC 7.fcs | EC 7 | B | 11168 | shared_mmb6_reference_boundaries | 0.12661 | 6044 | 0.20565 | 249 | 3.9568 | 0.46588 | 2006 | 24.9193 | 0.70257 | 2869 | 32.1889 | 5124 | 45.8811
EC 7.fcs | EC 7 | A | 8481 | shared_mmb6_reference_boundaries | 0.12661 | 5437 | 0.20565 | 245 | 4.3119 | 0.46588 | 1541 | 22.0837 | 0.70257 | 1258 | 18.7901 | 3044 | 35.892
EC 7.fcs | EC 7 | ALL | 19649 | mix |  | 11481 |  | 494 | 4.1253 |  | 3547 | 23.6026 |  | 4127 | 26.4416 | 8168 | 41.5695
EC 8.fcs | EC 8 | B | 11389 | shared_mmb6_reference_boundaries | 0.12636 | 8767 | 0.14655 | 452 | 4.9029 | 0.4948 | 1166 | 11.7386 | 0.57926 | 1004 | 10.2753 | 2622 | 23.0222
EC 8.fcs | EC 8 | A | 8656 | shared_mmb6_reference_boundaries | 0.12636 | 5855 | 0.14655 | 774 | 11.676 | 0.4948 | 1173 | 16.6904 | 0.57926 | 854 | 12.7292 | 2801 | 32.3591
EC 8.fcs | EC 8 | ALL | 20045 | mix |  | 14622 |  | 1226 | 7.736 |  | 2339 | 13.7905 |  | 1858 | 11.2743 | 5423 | 27.0541
EC 9.fcs | EC 9 | B | 10869 | shared_mmb6_reference_boundaries | 0.12656 | 4736 | 0.19555 | 261 | 5.2231 | 0.5157 | 2588 | 35.3359 | 0.76377 | 3284 | 40.9476 | 6133 | 56.4265
EC 9.fcs | EC 9 | A | 8801 | shared_mmb6_reference_boundaries | 0.12656 | 4397 | 0.19555 | 321 | 6.8037 | 0.5157 | 2268 | 34.0285 | 0.76377 | 1815 | 29.2176 | 4404 | 50.0398
EC 9.fcs | EC 9 | ALL | 19670 | mix |  | 9133 |  | 582 | 5.9907 |  | 4856 | 34.713 |  | 5099 | 35.8277 | 10537 | 53.5689
EC_10.fcs | EC_10 | B | 11046 | shared_mmb6_reference_boundaries | 0.12656 | 5534 | 0.20295 | 264 | 4.5533 | 0.46466 | 2393 | 30.188 | 0.70355 | 2855 | 34.0327 | 5512 | 49.9004
EC_10.fcs | EC_10 | A | 8646 | shared_mmb6_reference_boundaries | 0.12656 | 5276 | 0.20295 | 329 | 5.8698 | 0.46466 | 1791 | 25.3431 | 0.70355 | 1250 | 19.1542 | 3370 | 38.9776
EC_10.fcs | EC_10 | ALL | 19692 | mix |  | 10810 |  | 593 | 5.2004 |  | 4184 | 27.9045 |  | 4105 | 27.5226 | 8882 | 45.1046
NEC 1.fcs | NEC 1 | B | 11063 | shared_mmb6_reference_boundaries | 0.12645 | 6920 | 0.17181 | 66 | 0.94475 | 0.18529 | 348 | 4.7881 | 0.5463 | 3729 | 35.0174 | 4143 | 37.4492
NEC 1.fcs | NEC 1 | A | 8585 | shared_mmb6_reference_boundaries | 0.12645 | 6055 | 0.17181 | 93 | 1.5127 | 0.18529 | 337 | 5.2722 | 0.5463 | 2100 | 25.7511 | 2530 | 29.47
NEC 1.fcs | NEC 1 | ALL | 19648 | mix |  | 12975 |  | 159 | 1.2106 |  | 685 | 5.0146 |  | 5829 | 30.9987 | 6673 | 33.9627
NEC 2.fcs | NEC 2 | B | 11090 | shared_mmb6_reference_boundaries | 0.12663 | 5951 | 0.19041 | 301 | 4.8145 | 0.44817 | 2152 | 26.5581 | 0.66747 | 2686 | 31.0988 | 5139 | 46.339
NEC 2.fcs | NEC 2 | A | 8310 | shared_mmb6_reference_boundaries | 0.12663 | 4747 | 0.19041 | 349 | 6.8485 | 0.44817 | 1727 | 26.6759 | 0.66747 | 1487 | 23.8531 | 3563 | 42.8761
NEC 2.fcs | NEC 2 | ALL | 19400 | mix |  | 10698 |  | 650 | 5.7279 |  | 3879 | 26.6104 |  | 4173 | 28.0613 | 8702 | 44.8557
NEC 3.fcs | NEC 3 | B | 11112 | shared_mmb6_reference_boundaries | 0.12663 | 4526 | 0.14894 | 835 | 15.5755 | 0.48189 | 2810 | 38.3043 | 0.73076 | 2941 | 39.3866 | 6586 | 59.2693
NEC 3.fcs | NEC 3 | A | 8489 | shared_mmb6_reference_boundaries | 0.12663 | 3653 | 0.14894 | 639 | 14.8882 | 0.48189 | 2538 | 40.995 | 0.73076 | 1659 | 31.2312 | 4836 | 56.9678
NEC 3.fcs | NEC 3 | ALL | 19601 | mix |  | 8179 |  | 1474 | 15.2699 |  | 5348 | 39.5357 |  | 4600 | 35.9966 | 11422 | 58.2725
NEC 4.fcs | NEC 4 | B | 10974 | shared_mmb6_reference_boundaries | 0.12666 | 6893 | 0.15119 | 226 | 3.1746 | 0.20981 | 375 | 5.1596 | 0.5524 | 3480 | 33.5486 | 4081 | 37.1879
NEC 4.fcs | NEC 4 | A | 8254 | shared_mmb6_reference_boundaries | 0.12666 | 5508 | 0.15119 | 251 | 4.3584 | 0.20981 | 347 | 5.9266 | 0.5524 | 2148 | 28.0564 | 2746 | 33.2687
NEC 4.fcs | NEC 4 | ALL | 19228 | mix |  | 12401 |  | 477 | 3.704 |  | 722 | 5.5018 |  | 5628 | 31.2164 | 6827 | 35.5055
NEC 5.fcs | NEC 5 | B | 11018 | shared_mmb6_reference_boundaries | 0.12662 | 7512 | 0.14298 | 378 | 4.7909 | 0.19493 | 276 | 3.5439 | 0.55451 | 2852 | 27.5183 | 3506 | 31.8207
NEC 5.fcs | NEC 5 | A | 8094 | shared_mmb6_reference_boundaries | 0.12662 | 5908 | 0.14298 | 776 | 11.6098 | 0.19493 | 177 | 2.9088 | 0.55451 | 1233 | 17.2665 | 2186 | 27.0077
NEC 5.fcs | NEC 5 | ALL | 19112 | mix |  | 13420 |  | 1154 | 7.9182 |  | 453 | 3.2653 |  | 4085 | 23.3362 | 5692 | 29.7823
NEC 6.fcs | NEC 6 | B | 10782 | shared_mmb6_reference_boundaries | 0.12676 | 6057 | 0.15046 | 428 | 6.5998 | 0.39628 | 1471 | 19.5404 | 0.59688 | 2826 | 31.8136 | 4725 | 43.823
NEC 6.fcs | NEC 6 | A | 8228 | shared_mmb6_reference_boundaries | 0.12676 | 5019 | 0.15046 | 480 | 8.7289 | 0.39628 | 1179 | 19.0223 | 0.59688 | 1550 | 23.5957 | 3209 | 39.001
NEC 6.fcs | NEC 6 | ALL | 19010 | mix |  | 11076 |  | 908 | 7.5768 |  | 2650 | 19.3064 |  | 4376 | 28.32 | 7934 | 41.7359
NEC 7.fcs | NEC 7 | B | 11151 | shared_mmb6_reference_boundaries | 0.12662 | 6767 | 0.14318 | 522 | 7.1615 | 0.17722 | 322 | 4.5422 | 0.56215 | 3540 | 34.3456 | 4384 | 39.3149
NEC 7.fcs | NEC 7 | A | 7996 | shared_mmb6_reference_boundaries | 0.12662 | 5488 | 0.14318 | 687 | 11.1255 | 0.17722 | 254 | 4.4235 | 0.56215 | 1567 | 22.2112 | 2508 | 31.3657
NEC 7.fcs | NEC 7 | ALL | 19147 | mix |  | 12255 |  | 1209 | 8.9795 |  | 576 | 4.4891 |  | 5107 | 29.4148 | 6892 | 35.9952
NEC 8.fcs | NEC 8 | B | 11156 | shared_mmb6_reference_boundaries | 0.12694 | 5791 | 0.16605 | 463 | 7.4033 | 0.45111 | 2163 | 27.1939 | 0.6781 | 2739 | 32.1102 | 5365 | 48.0907
NEC 8.fcs | NEC 8 | A | 8875 | shared_mmb6_reference_boundaries | 0.12694 | 4560 | 0.16605 | 443 | 8.8547 | 0.45111 | 2020 | 30.6991 | 0.6781 | 1852 | 28.8833 | 4315 | 48.6197
NEC 8.fcs | NEC 8 | ALL | 20031 | mix |  | 10351 |  | 906 | 8.0483 |  | 4183 | 28.7808 |  | 4591 | 30.7255 | 9680 | 48.3251
NEC 9.fcs | NEC 9 | B | 10868 | shared_mmb6_reference_boundaries | 0.12667 | 4281 | 0.15343 | 659 | 13.3401 | 0.50311 | 2889 | 40.2929 | 0.75547 | 3039 | 41.5164 | 6587 | 60.6091
NEC 9.fcs | NEC 9 | A | 8886 | shared_mmb6_reference_boundaries | 0.12667 | 3775 | 0.15343 | 610 | 13.9111 | 0.50311 | 2815 | 42.7162 | 0.75547 | 1686 | 30.8735 | 5111 | 57.5174
NEC 9.fcs | NEC 9 | ALL | 19754 | mix |  | 8056 |  | 1269 | 13.6086 |  | 5704 | 41.4535 |  | 4725 | 36.9689 | 11698 | 59.2184
NEC_10.fcs | NEC_10 | B | 11197 | shared_mmb6_reference_boundaries | 0.1264 | 6405 | 0.1473 | 352 | 5.2094 | 0.37192 | 1412 | 18.0632 | 0.56529 | 3028 | 32.1001 | 4792 | 42.7972
NEC_10.fcs | NEC_10 | A | 8492 | shared_mmb6_reference_boundaries | 0.1264 | 5043 | 0.1473 | 595 | 10.5534 | 0.37192 | 1086 | 17.719 | 0.56529 | 1768 | 25.958 | 3449 | 40.6147
NEC_10.fcs | NEC_10 | ALL | 19689 | mix |  | 11448 |  | 947 | 7.6402 |  | 2498 | 17.9119 |  | 4796 | 29.5247 | 8241 | 41.8559

## Diagnostic Metrics
File name | Diagnostic Ratio | Diagnostic Threshold | EC Threshold | Recommendation
EC 1
A:B using normalised_sandwich_v1_events (%) | 1.1563
A:B using normalised_sandwich_v2_events (%) | 0.85053
A:B using normalised_sandwich_v3_events (%) | 0.54988
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.5567 | 2.6 ± 0.25 | Triage to secondary care
EC 2
A:B using normalised_sandwich_v1_events (%) | 1.8048
A:B using normalised_sandwich_v2_events (%) | 1.3179
A:B using normalised_sandwich_v3_events (%) | 1.0751
Sum of diagnostic ratios (v1 + v2 + v3) |  | 4.1979 | 2.6 ± 0.25 | Do not triage to secondary care
EC 3
A:B using normalised_sandwich_v1_events (%) | 0.94401
A:B using normalised_sandwich_v2_events (%) | 0.87953
A:B using normalised_sandwich_v3_events (%) | 0.46883
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.2924 | 2.6 ± 0.25 | Triage to secondary care
EC 4
A:B using normalised_sandwich_v1_events (%) | 1.1777
A:B using normalised_sandwich_v2_events (%) | 0.85313
A:B using normalised_sandwich_v3_events (%) | 0.55765
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.5885 | 2.6 ± 0.25 | Triage to secondary care
EC 5
A:B using normalised_sandwich_v1_events (%) | 1.878
A:B using normalised_sandwich_v2_events (%) | 0.83811
A:B using normalised_sandwich_v3_events (%) | 0.65171
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.3678 | 2.6 ± 0.25 | Do not triage to secondary care
EC 6
A:B using normalised_sandwich_v1_events (%) | 1.2076
A:B using normalised_sandwich_v2_events (%) | 1.0195
A:B using normalised_sandwich_v3_events (%) | 0.87894
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.106 | 2.6 ± 0.25 | Do not triage to secondary care
EC 7
A:B using normalised_sandwich_v1_events (%) | 1.0897
A:B using normalised_sandwich_v2_events (%) | 0.88621
A:B using normalised_sandwich_v3_events (%) | 0.58375
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.5597 | 2.6 ± 0.25 | Triage to secondary care
EC 8
A:B using normalised_sandwich_v1_events (%) | 2.3814
A:B using normalised_sandwich_v2_events (%) | 1.4218
A:B using normalised_sandwich_v3_events (%) | 1.2388
Sum of diagnostic ratios (v1 + v2 + v3) |  | 5.0421 | 2.6 ± 0.25 | Do not triage to secondary care
EC 9
A:B using normalised_sandwich_v1_events (%) | 1.3026
A:B using normalised_sandwich_v2_events (%) | 0.963
A:B using normalised_sandwich_v3_events (%) | 0.71354
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.9792 | 2.6 ± 0.25 | Triage to secondary care
EC_10
A:B using normalised_sandwich_v1_events (%) | 1.2891
A:B using normalised_sandwich_v2_events (%) | 0.83951
A:B using normalised_sandwich_v3_events (%) | 0.56282
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.6915 | 2.6 ± 0.25 | Triage to secondary care
NEC 1
A:B using normalised_sandwich_v1_events (%) | 1.6012
A:B using normalised_sandwich_v2_events (%) | 1.1011
A:B using normalised_sandwich_v3_events (%) | 0.73538
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.4376 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 2
A:B using normalised_sandwich_v1_events (%) | 1.4225
A:B using normalised_sandwich_v2_events (%) | 1.0044
A:B using normalised_sandwich_v3_events (%) | 0.76701
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.1939 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 3
A:B using normalised_sandwich_v1_events (%) | 0.95587
A:B using normalised_sandwich_v2_events (%) | 1.0702
A:B using normalised_sandwich_v3_events (%) | 0.79294
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.8191 | 2.6 ± 0.25 | Triage to secondary care
NEC 4
A:B using normalised_sandwich_v1_events (%) | 1.3729
A:B using normalised_sandwich_v2_events (%) | 1.1486
A:B using normalised_sandwich_v3_events (%) | 0.83629
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.3578 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 5
A:B using normalised_sandwich_v1_events (%) | 2.4233
A:B using normalised_sandwich_v2_events (%) | 0.82079
A:B using normalised_sandwich_v3_events (%) | 0.62745
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.8716 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 6
A:B using normalised_sandwich_v1_events (%) | 1.3226
A:B using normalised_sandwich_v2_events (%) | 0.97348
A:B using normalised_sandwich_v3_events (%) | 0.74169
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.0378 | 2.6 ± 0.25 | Triage to secondary care
NEC 7
A:B using normalised_sandwich_v1_events (%) | 1.5535
A:B using normalised_sandwich_v2_events (%) | 0.97387
A:B using normalised_sandwich_v3_events (%) | 0.6467
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.1741 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 8
A:B using normalised_sandwich_v1_events (%) | 1.1961
A:B using normalised_sandwich_v2_events (%) | 1.1289
A:B using normalised_sandwich_v3_events (%) | 0.89951
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.2245 | 2.6 ± 0.25 | Do not triage to secondary care
NEC 9
A:B using normalised_sandwich_v1_events (%) | 1.0428
A:B using normalised_sandwich_v2_events (%) | 1.0601
A:B using normalised_sandwich_v3_events (%) | 0.74365
Sum of diagnostic ratios (v1 + v2 + v3) |  | 2.8466 | 2.6 ± 0.25 | Triage to secondary care
NEC_10
A:B using normalised_sandwich_v1_events (%) | 2.0258
A:B using normalised_sandwich_v2_events (%) | 0.98095
A:B using normalised_sandwich_v3_events (%) | 0.80866
Sum of diagnostic ratios (v1 + v2 + v3) |  | 3.8154 | 2.6 ± 0.25 | Do not triage to secondary care